CITY OF HAVRE DE GRACE

Department of Public Works

711 Pennington Avenue •  Havre de Grace, MD 21078

Phone: 410-939-1800  •  Fax: 410-939-7527

WATER and SEWER PLAN

REVIEW CHECKLIST

Tax Map: _______  Parcel: ________  Acreage: ________  Plat: _______  ADC Map and Grid: ________

Owner’s name: _______________________________________________________________________

Contract Purchaser’s Name: _____________________________________________________________

Address: ____________________________________________________________________________

Engineer/Surveyor: ____________________________________________________________________

For additional contact: _________________________________________________________________

Name: ______________________________________________________________________________

The water and sewer plans shall be designed, submitted, and reviewed according to the

following criteria:

- The design of the water mains shall be in accordance with the Harford County Water Mains                    and Sewer Mains Standard Specifications and Details.

- The design of the sewer mains shall be in accordance with the Harford County Water Mains               and Sewer Mains Standard Specifications and Details.

- One (1) set of plans shall be prepared by the engineer detailing the design of both the water           mains and sewer mains.  Owner/Engineer shall submit three (3) paper copies with computations, if applicable, for review.  Upon final approval, the Owner/Engineer shall submit five (5) signed and sealed paper copies for signature.  Two (2) sets of signed and sealed computations, if applicable, should accompany the plan for approval.  Upon signature of the plans by all parties, the engineer shall submit a pdf-file to the City of Havre de Grace.

- Plan review fees shall be paid per City Code Requirements.

- Final approval of mylars (signatures) predicated on the execution of a Public Works Agreement          and the posting of a Performance Bond. Performance Bond amount based upon an Engineer’s           Cost Estimate.

1                                                                                                              Jan. 2016

The following list of items are the minimum requirements for review and approval of Water and Sewer Plans by City of Havre de Grace Department of Public Works.  Plans not meeting these requirements will be deemed incomplete and returned to the engineer.  Please complete and submit the checklist with the plan submittal.

CO/NA

___/___  1. Water and Sewer checklist.

___/___  2. Water and Sewer Engineering Plans

___/___      A. Title Sheet

___/___        1. Vicinity Map (Tax Map and Parcel Number)

___/___             a. Proposed Lots and Site Boundaries

___/___             b. Location of Proposed Utilities

___/___        2. City General Notes

___/___        3. Owner/Developer and Engineer Certifications

___/___        4. Geotechnical Certification and As-Built Certification Block

___/___        5. Owner and Engineer’s address

___/___      B. Water and Sewer Plan View

___/___        1. Water and Sewer lines shown boldly on plan with manholes, valves, bends, etc. stationed to center

line of road and distances right or left.  If outside road right-of-way, provide North and East

coordinates.

___/___        2. Ghost in proposed storm drain system & existing municipal utilities

___/___        3. Roadway and right-of-way, and residential or commercial lots clearly defined

___/___        4. Show all drainage and utility easements

___/___        5. A minimum of three (3) NAD 83m x, y coordinates

___/___        6. Location of proposed driveways

___/___        7. Location of water and sewer connections

___/___        8. Location of meter vault (commercial only)

___/___     C. Water and Sewer Profiles

___/___        1. Existing and proposed grades

___/___        2. Diameter of pipe

___/___        3. Pipe material specifications

___/___        4. Pipe slope

___/___        5. Show all pipe crossings

___/___        6. Structures (manholes, bends, valves, etc.) clearly labeled to match plan view

___/___        7. Invert elevations (for waterlines invert elevations shown minimum 50’ intervals)

___/___        8. Water and sewer structure schedule

___/___        9. Show top frame/cover elevations and top valve elevations, fire hydrant bury elevations

2                                                                                                             Jan. 2016

___/___     D. Structural Details and Specifications

___/___ 3. Sanitary Pump Stations, Water Booster Pumps and Water Towers Plans

___/___      A. Title Sheet

___/___        1. Vicinity Map (Tax Map and Parcel Number)

___/___            a.  Proposed Lot and Access Location

___/___            b.  Location of Utility

___/___        2. City General Notes

___/___        3. Owner/Developer and Engineering Certifications

___/___        4. Geotechnical Certification and As-Built Certification Block

___/___        5. Owner and Engineer’s Address

___/___      B. Plan View

___/___        1. Location of proposed pump station, tank, electrical cabinets, generators or booster pump and

property lines of lot with bearings and distances

___/___        2. Water/Sewer mains shown boldly on plans with manholes, valves, bends, vaults clearly shown on

plans with dimensions and N and E coordinates

___/___        3. Ghost in proposed storm drain system and existing water and sewer lines

___/___        4. Show maintenance access road properly dimensioned and paving details

___/___        5. Show all necessary drainage and utility easements

___/___        6. Plan view must have a minimum of three (3) NAD 83m x,y coordinates

___/___   C. Plan Profiles

___/___        1. Existing and proposed grades

___/___        2. Location of motors, pumps, electrical cabinets, etc.

___/___        3. Elevations for all wetwell, vaults, etc.

___/___        4. Performance Curves

___/___        5. Diameter of all pipes

___/___        6. Pipe material specifications

___/___        7. Concrete vault specifications

___/___        8. Pipe slopes and crossings

___/___        9. Structures (manholes, valves, bends, etc.) clearly labeled to match Plan View

___/___      10. Invert elevations

___/___      11. Show top of valves, frame/covers elevations

___/___   D. Design Computations, Specifications and Details

3                                                                                                    Jan. 2016

WATER SERVICE CHART

| Lot Number |  | EL @ Top Curb Stop | CL Road Station | (Min. if Appl.) Max PSI @ Top Curb Stop | Type of Service |
| --- | --- | --- | --- | --- | --- |
| *MAX. | *MIN. |

|  |  | ROAD NAME |  |  |
| --- | --- | --- | --- | --- |

|  |  | ROAD NAME |  |  |
| --- | --- | --- | --- | --- |

|  |  | ROAD NAME |  |  |
| --- | --- | --- | --- | --- |

|  |  | ROAD NAME |  |  |
| --- | --- | --- | --- | --- |

|  |  | ROAD NAME |  |  |
| --- | --- | --- | --- | --- |
|  |  |  | 4 |  |  |  |
|  |  | ROAD NAME |  |  |

SANITARY SEWER CHART

| Lot Number | Station Main | Invert Main | Invert & Station 1/8 Bend DHC | Length of Service | Slope of Service | Invert @ESM’t or Prop. Line | Top of Cleanout |
| --- | --- | --- | --- | --- | --- | --- | --- |
| *MAX. | *MIN. |

|  |  | SMH # to SMH # |  |  |  |
| --- | --- | --- | --- | --- | --- |

|  |  | SMH # to SMH # |  |  |  |
| --- | --- | --- | --- | --- | --- |

|  |  | SMH # to SMH # |  |  |  |
| --- | --- | --- | --- | --- | --- |

|  |  | SMH # to SMH # |  |  |  |
| --- | --- | --- | --- | --- | --- |

|  |  | SMH # to SMH # |  |  |  |
| --- | --- | --- | --- | --- | --- |

5                                                                                                       Jan. 2016